## Blad1
This program estimates the cooling capacity of the different cooling sources in an incubator, cooling by water cooling , by ventilation and by spraying.
The heat production of the eggs and ventilation conditions of the machine needs to be filled in for the actual day of incubation.
For multi stage machines an average embryo developmental stage of approximately 9 days needs to be filled in, which equals approximately 0,02-0,03W
calculation cooling capacity machine
| unit | value
Heat production of machine
heat production eggs | W | 0.15
eggs in machine | # | 60000
heat production eggs | W | 9000
heat production ventilator | W | 1000
heat production machine | kJ/s | 10
heat loss through ventilation
ventiation cap | m3/uur | 200 | energy content of air |  | out | in | in | in
energy content air out 37,8-50 | kJ/m3 | 93 | temperature | oC | 37.5 | 20 | 30 | 30
energy content air in 20-50 | kJ/m3 | 38 | relative hum | % | 55 | 50 | 50 | 70
|  |  | energy cont | kJ/m3 | 93 | 38 | 65 | 75
heat loss through ventilation | Kj/s | 3.0556
heat loss cooling water
temperature incoming water | oC | 15
temperature outgoing water | oC | 20
delta T cooling water | oC | 5
heat capacity water | kJ/L/oC | 4.2
cooling capacity | kJ/L | 21
Heat balance with sprayer off
heat production machine | kJ/uur | 36000
heat loss ventilation | kJ/uur | 11000
needed cooling cap | kJ/uur | 25000
cooling capacity per liter | kJ | 21
needed cooling water/mach | l/uur | 1190.4762
how much spraying is needed if water cooling is not sufficient
actual cooling water amount | l/uur | 500
heat loss through cooling wat | kj/uur | 10500
heat loss through sprayer | kJ/uur | 14500
evaporative heat loss | kJ/liter | 2260
needed spraying | l/uur | 6.4159